# Measuring devices approval PA s58(ga)

Relevant Form - Petroleum Act 1984

This is the relevant form for the purposes of section 58(ga) of the Petroleum Act 19841 (Act).

Use this form to apply to the Chief Executive Officer (CEO) of the Department of Mining and Energy (DME) when separate approval of measuring devices is required because those devices and their locations are not included in an approved application to recover appraisal petroleum (BUG2 approval) or a previously approved type of meter(s), or their location varies from a previous approval. There are also limited circumstances when you can apply to make minor variations to the location of measuring devices that have been approved as part of a field management plan (FMP).

Measurement devices are used to determine the energy content of petroleum for custody transfer purposes (sale of gas) and to verify that the petroleum meets the quality specification obligations.

You must submit all relevant data sheets and process flows diagrams as part of this application.

It is a general condition of all permits and licences issued in accordance with the Act that all wells capable of producing or recovering petroleum must have an approved measuring device installed at a location required or approved by the CEO before commencing any production or recovery operations.

If you are applying for approval for measuring devices that will be used in conjunction with an existing BUG approval, you must refer to the Recovery of petroleum on an appraisal basis: Application guideline3. You will need to demonstrate to the CEO that the measuring devices proposed in this application meet the requirements of the guideline and are consistent with the relevant existing approval(s).

Read the important information at Attachment A.

| Petroleum interest |  |  |  |
| --- | --- | --- | --- |
| Petroleum interest reference number (EP, RL, P, OL) |  | Expiry date |  |
| Interest holder /operator |  |  |  |
| Company/individual name |  |  |  |
| ACN / ABN / ARBN |  | Interest held | % |
| Business address |  |  |  |
| Postal address |  |  |  |
| Contact person |  |  |  |
| Telephone |  | Email |  |

1 https://legislation.nt.gov.au/en/Legislation/PETROLEUM-ACT-1984

2 BUG is a colloquially used acronym which refers to the beneficial use of gas

3 https://nt.gov.au/ data/assets/word_doc/0003/1565211/recovery-of-petroleum-on-an-appraisal-basis-guideline.docx

Measuring devices approval PA s58(ga)

| Person in charge of activity (may be a contractor carrying out the activity on behalf of the interest holder) |  |  |  |
| --- | --- | --- | --- |
| Contact person |  |  |  |
| Role |  |  |  |
| Company name |  |  |  |
| ACN / ABN / ARBN |  |  |  |
| Telephone |  | Email |  |
| Related BUG approval |  |  |  |
| Document ID | Unique identifier for BUG approval, or specify NA |  |  |
| Date approved, including any revision(s) | Revision number, Date approved (DD-MM-YY) , or specify NA |  |  |
| Existing measuring device approval(s) – list all as applicable |  |  |  |
| Document ID and date approved | Unique identifier for approval, date approved (DD-MM-YY), or specify NA |  |  |
| Date approved | Date approved (DD-MM-YY), or specify NA |  |  |
| Related FMP approval |  |  |  |
| Document ID | Unique identifier for FMP approval, or specify NA |  |  |
| Date approved, including any revision(s) | Revision number, Date approved (DD-MM-YY), or specify NA |  |  |

Measuring devices approval PA s58(ga)

Proposed measuring devices (add or delete rows as applicable)

| Meter / component type | Applicable standard | Rationale | Verification and calibration | Frequency and replacement (where applicable) | Accuracy | Data sheet reference(s) (Sheet number) |  | Data sheet Required attachment | Procedure Attach if available, otherwise required upon commencement |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| E.g. Orifice plate flowmeter | E.g. AGA-3 | E.g. Measures the flowrate of the co-mingled gas and water stream produced from individual wells (back allocation) | E.g. Plate – Visual check for wear and damage. | E.g. Initial and 6 monthly | E.g. <2% (not for custody transfer). | E.g. 2026-OPF-123 |  | ☐ | ☐ |
| E.g. Orifice plate flowmeter | E.g. AGA-3 | E.g. Measures the total quantity of gas produced from all operational wells on the well pad | E.g. Plate– Visual check for wear and damage. | E.g. Initial and 6 monthly | E.g. <2% (not for custody transfer). | E.g. 2026-OPF-456 |  | ☐ | ☐ |
| E.g. Orifice plate flowmeter | E.g. AGA-3 | E.g. Measures water returned to the water storage tank | E.g. Plate – Visual check for wear and damage. | E.g. Initial and 6 monthly | E.g. +/- 2% | E.g. 2026-OPF-1011 |  | ☐ | ☐ |
| E.g. Ultrasonic meter | E.g. AGA-9 | E.g. Measures the speed of gas through fixed diameter to determine volumetric flowrate. | E.g. Diagnostics, validation and calibration. | E.g. Initial and 3 monthly 5-yearly replacement if required. | E.g. +/- 1% | E.g. 2026-UM-123 |  | ☐ | ☐ |
| E.g. Gas chromatograph (gas analyser) | E.g. ISO 6976 ISO 6974 | E.g. Measures the composition of the export gas to determine the density and higher heating value so that the volumetric flow can be converted to an energy flowrate. | E.g. Diagnostics, validation and calibration. | E.g. Initial and 3-monthly meter Daily auto-calibration | E.g. + 0.1% | E.g. 2026-GC-123 |  | ☐ | ☐ |
| E.g. Electromagnetic flowmeter | E.g. ISO 20456 | E.g. Measures the volume of water going to the produced water treatment system from various sources. | E.g. Calibration | E.g. Initial and annually | E.g. +/-0.5% | E.g. 2026-EM-111 |  | ☐ | ☐ |
| Proposed measuring device locations (add or delete rows as applicable) |  |  |  |  |  |  |  |  |  |
| Meter / component type (as applicable based on the site) |  | Fluid and source | Location and rationale |  |  | Location identifier | Process flow diagram (Sheet number) |  | Process flow diagram (required attachment) |
| E.g. Orifice plate flowmeter |  | E.g. Petroleum from (well name) well | E.g. One per well - installed to measure the flowrate of the co-mingled gas and water stream produced from each individual well |  |  | E.g. WELLREF-123 | E.g. 2026-MD-01 |  | ☐ |
| E.g. Orifice plate flowmeter |  | E.g. Petroleum from well pad | E.g. One per well pad - Installed on gas outlet line of the common well pad separator to measure the total quantity of gas produced from all operational wells on the well pad |  |  | E.g. WELLREF-456 | E.g. 2026-MD-01 |  | ☐ |
| E.g. Orifice plate flowmeter |  | E.g. Produced water from all operational wells on the well pad | E.g. Installed on the water outlet line of the common well pad separator to measure the total quantity of water produced |  |  | E.g. WELLREF-789 | E.g. 2026-MD-01 |  | ☐ |
| E.g. Ultrasonic meter |  | E.g. Petroleum | E.g. Installed on the sales gas export line. Measures the speed of gas through fixed diameter to determine volumetric flowrate. |  |  | E.g.FE-123 | E.g. 2026-MD-02 |  | ☐ |
| E.g. Gas chromatograph (gas analyser) |  | E.g. Petroleum | E.g. Measures the composition of the export gas to determine the density and higher heating value so that the volumetric flow can be converted to an energy flowrate. |  |  | E.g.AE-456 | E.g. 2026-MD-02 |  | ☐ |
| E.g. Electromagnetic flowmeter |  | E.g. Water | E.g. Measures the volume of water going to the produced water treatment system from various sources. |  |  | E.g.AE-989 | E.g. 2026-MD-02 |  | ☐ |

Measuring devices approval PA s58(ga)

| Declaration |  |  |  |
| --- | --- | --- | --- |
| I declare that the information contained in this form is true and correct to the best of my knowledge. I understand that providing misleading information, or making false representations are offences as per section 107 and section 108 of the Petroleum Act 1984. |  |  |  |
| Signature |  | Date |  |
| Name |  |  |  |
| Position held/title |  |  |  |
| Fees There is no fee for a measuring device approval. How to submit Submit this form and attachments via email or post to: petroleum.operations@nt.gov.au Department of Mining and Energy GPO Box 4550 Darwin NT 0801 Privacy statement The Department of Mining and Energy complies with the Information Privacy Principles4 scheduled by the Information Act 2002. Further information Contact Petroleum Operations, DME for technical advice on 08 8999 6521 or via email petroleum.operations@nt.gov.au |  |  |  |

4 https://infocomm.nt.gov.au/privacy/information-privacy-principles

Measuring devices approval PA s58(ga)

| Attachment A – Important Information Application notes - Assessment and approval of measuring devices and their locations will only relate to wells specified in this form and they must correspond with an approval to recover appraisal petroleum (BUG approval) under s57AAA of the Act. - Once approved, details specified in an application will become a condition of approval of the relevant BUG or FMP approval. Ongoing compliance with specified standards, data sheets and process flow diagrams is required. - As additional wells are brought online, or any additional or alternate measuring devices are required, separate applications will need to be made. - Measurement device procedures should be provided with application if available at the time of lodgement, alternatively they will need to be provided and accepted at commencement. - Calibration records and validation certificates of measurement devices must be provided at commencement. - All key records associated with the approved measuring devices must be kept and made available in accordance with Regulations 66P(c), 66Q and 66R of the Petroleum Regulations 2020. - A new approval to recover petroleum on an appraisal basis will be required to continue recovery under a renewed permit or a retention licence. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Internal document control |  |  |  |  |
|  |  | Measuring devices approval PA s58(ga) |  |  |
| Document title |  |  |  |  |
|  |  | Department of Mining and Energy |  |  |
| Contact details |  |  |  |  |
|  |  | A/Senior Executive Director, Energy Development |  |  |
| Approved by |  |  |  |  |
|  |  | 12/08/2026 |  |  |
| Date approved |  |  |  |  |
|  |  | Biennially |  |  |
| Document review |  |  |  |  |
|  |  | DITT2024/00811-0016 |  |  |
| TRM number |  |  |  |  |
| Version | Date |  | Author | Changes made |
| 1.0 | 12/08/2026 |  | Energy Development | Initial application form |